{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","BRC1E53B"]
[]
[]
[]
[]
["","","","","BRC1E53B7"]
["Pakuotė","Medžiaga","","","Kartoninė dėžė_"]
["","Svoris","","kg","0.05"]
["Aplinkos temperatūra","Santykinis drėgnumas <","","%","95"]
["Matmenys","Supakuotas įrenginys","Plotis","mm","160"]
["","","Aukštis","mm","55"]
["","","Gylis","mm","150"]
["","Įrenginys","Plotis","mm","120"]
["","","Gylis","mm","19"]
["","","Aukštis","mm","120"]
["Korpusas","Mygtuko dangtis","","","Ne"]
["","Spalva","","","Ryškiai balta"]
["","Veikimo LED","Spalva","","Žalia"]
["LCD","Tipas","","","Taškas (160 x 255)"]
["","Papildomas apšvietimas","Spalva","","Balta spalva"]
["","Matmenys","Plotis","mm","68.85"]
["","","Aukštis","mm","43.2"]
["Svoris","Supakuotas įrenginys","","kg","0.415"]
["","Įrenginys","","kg","0.200"]
["Atsarginis apšvietimas išsijungus maitinimui","","","","Taip (laikrodis veiks ne ilgiau kaip 48 valandas)"]
["Laidų jungtys","Laidų ilgis","Maks.","m","500"]