{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":18,"n_cols":3,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","RRDQ-V1"]
[]
[]
[]
[]
["","","RRDQ220V1"]
["Standartiniai priedai","1/4 col. užpildymo žarna su rutuliniu vožtuvu (raudona) 152 cm (AR344)","1/4 col. užpildymo žarna su rutuliniu vožtuvu (raudona) 152 cm (AR344)"]
["","1/4 col. užpildymo žarna su rutuliniu vožtuvu (mėlyna) 152 cm (AR345)","1/4 col. užpildymo žarna su rutuliniu vožtuvu (mėlyna) 152 cm (AR345)"]
["","Filtras (TF011)","Filtras (TF011)"]
["","Sausojo filtro kasetė su molekuliniu sietu (AR179E)","Sausojo filtro kasetė su molekuliniu sietu (AR179E)"]
["","Patikros stiklas 1/4 col. (ES603)","Patikros stiklas 1/4 col. (ES603)"]
["","1/4 col. platėjanti užmaunama jungtis x 1/4 col. užmaunama (BF0020)","1/4 col. platėjanti užmaunama jungtis x 1/4 col. užmaunama (BF0020)"]
["","Naudojimo vadovas RRDQ220V1 (IM0496)","Naudojimo vadovas RRDQ220V1 (IM0496)"]
["","1/4 col. skystojo užpildo adapteris, naudojamas perdirbant R134a (papildomas priedas)","1/4 col. skystojo užpildo adapteris, naudojamas perdirbant R134a (papildomas priedas)"]
["Pastabos","","(1) - Specifikacijos gali būti keičiamos be išankstinio įspėjimo"]
["","","(2) - Perdirbimo rodiklis kinta, esant įvairioms sąlygoms"]
["","","(3) - Kai perdirbamas R134a, vadovaukitės naudojimo vadovo 11 puslapiu"]
["","","(4) - Perdirbimo rezultatai kinta, atsižvelgiant į perdirbamo šaltnešio užterštumą"]